Abstract

Rising global power demand has led to a need for producing and storing energy efficiently and sustainably. Concentrated solar power (CSP) is one avenue for achieving sustainability goals, and sCO2 as a transfer fluid is a potential compact and efficient method for harvesting thermal storage from CSP. This research investigates the thermal performance of Brayton cycles using sCO2 as well as transient response in the temperature range of particle based CSP applications (>700 °C). A computational model, developed using MATLAB and CoolProp, was created to simulate the cycles, with a focus on the performance and dynamic behavior of heat exchangers within the cycle. Various cycle layouts (single or double recuperator) are compared. The steady state results show that a double recuperator layout is more efficient (by up to 20%) and an ideal split ratio (.38) is found. The transient results show that single recuperator layouts experience thermal limitations within the dynamic heat exchanger at the pinch point and need a sufficient pressure ratio, above (2.3), to account for it. This research displays the importance of layout design and operating conditions when using sCO2 as a transfer fluid for thermal storage applications. Additionally, the simulations developed serve as a tool for predicting and optimizing cycle behavior, informing future designs and controls in CSP and sCO2 technology.